FB NO:  FB16-069					DATE:  		May 23, 2015

BUYER:  Kelly Sloan, Purchasing Manager		PHONE:  	(816) 271-4465

ADDENDUM #1

FUNDING DEPARTMENT:	MAJOR RENOVATION

EQUIPMENT/SERVICES REQUESTED:    	FOUNTAIN MASONRY RESTORATION

PLEASE NOTE:  SEE BELOW FOR CLARIFICATIONS AND ADDITIONAL INFORMATION:  PLEASE SUBMIT THIS INITIALED ADDENDUM WITH YOUR BID RESPONSE.  IF YOU HAVE ALREADY SENT YOUR RESPONSE, PLEASE SEND AN EMAIL STATING YOU RECEIVED THE ADDENDUM.

QUESTION SUBMITTED:

Is this prevailing wage?

ANSWER:

Yes.

QUESTION SUBMITTED:

Is this tax exempt?

ANSWER:

Yes, the awarded vendor will receive a project exemption certificate.

QUESTION SUBMITTED:

What is included in re-caulking the fountain?

ANSWER:

We expect this would include all areas of the fountain, including the tiles as well as the base where the concrete meets the fountain.

QUESTION SUBMITTED:

Provide more information tiling on the walls?

ANSWER:

There are two upper and one lower walls that the tile will need to removed.

THIS ADDENDUM IS HEREBY CONSIDERED TO BE A PART OF THE ORIGINAL BID SPECIFICATIONS AND NEEDS TO BE INITIALED AND RETURNED WITH YOUR BID IN ORDER TO BE CONSIDERED.