BID SPECIFICATION SHEET FOR FB17-010

INCUBATOR

Missouri Western State University is accepting bids on an Incubator with the following specifications or as close to these as possible:

Forced Air CO2 Preferred over water jacketed

TC Sensor

6.5 cubic foot Interior Chamber

120V

Prefer a heated inner door

Must fit within specific dimensions

Exterior (W x D x H) 26” x 26” x 42”

Cost of Incubator						            $_________________

Make and Model with manufacture part number____________________________________________

Vendor Authorized Signature:_________________________________    Date: _________________

Company:_________________________________________  Phone number:___________________

Please return this pricing sheet as well as Vendor’s W-9 to Missouri Western State University Purchasing Department, 4525 Downs Drive, St. Joseph, MO  64507.  Please be sure to mark the envelope with FB17-010.  Pricing must be FOB Missouri Western State University.

Include literature on the recommended Incubator for our review.

Any questions regarding this bid must be referred directly to the Kelly Sloan, Purchasing Manager, purchase@missouriwestern.edu in the Purchasing Department 816-271-4465.