BID SPECIFICATION SHEET FOR FB17-065

GEL DOCUMENTATION SYSTEM

Missouri Western State University is accepting bids on a Gel Documentation System with the following specifications or as close to these as possible:

ChemiDoc XRS+ System with Image Lab Software for PC or MAC (Mfg # 1708265) including:

- Darkroom

- UV Transilluminator

- Epi-White Illumination

- Detection Filter

- Super cooled

- USB & Power Cables

- High Res CCD Camera with MZL

- AutoFocus

- Flat Field Calibration Tools

Additional Add-on Components:

- White light Conversion Screen

- V3 Imaging Target

System must support Bio-Rad, V3 Western Workflow, Stain-Free reagents (due to research restrictions).

Cost of Gel Documentation System and all add-ons			            $_________________

Make and Model with manufacture part number____________________________________________

Vendor Authorized Signature:_________________________________    Date: _________________

Company:_________________________________________  Phone number:___________________

Please return this pricing sheet as well as Vendor’s W-9 to Missouri Western State University Purchasing Department, 4525 Downs Drive, St. Joseph, MO  64507.  Please be sure to mark the envelope with FB17-065.  Pricing must be FOB Missouri Western State University.

Any questions regarding this bid must be referred directly to the Kelly Sloan, Purchasing Manager, purchase@missouriwestern.edu in the Purchasing Department 816-271-4465.