BID SPECIFICATION SHEET FOR FB17-083

DUCT AND HOOD CLEANING FOOD SERVICE

Scope of Work:

MWSU has multiple food prep areas with exhaust hoods that need regular cleaning.

Our requirement is that these units receive thorough cleaning every 6 months, beginning immediately.

The areas include the following:

- Main Cafeteria Kitchen

- Food Court Grill

- Belgium Waffle Station

- Burger Station

- Pizza Kitchen

Timeline of Project:

- This contract will be from date of award until June 2017 to align with our fiscal year with the option to renew for an addition 4 (four) one year periods of July 1 to June 30 (until June 30, 2021) should both MWSU and the vendor agree to maintain the terms and prices of the original contract.

Bid Specification:

- Thorough cleaning of all hood systems that includes surface scraping of grease build up, wiping down surfaces with grease cutting solution, high pressure washing with hot water and final wipe down

- Exhaust Fan cleaning to include the fan blades, fan housing, louvers and exhaust duct

- Duct work cleaning to include vertical riser, taps, louvers, filters, grills and any and all exhaust ductwork

- After hood, duct and fan cleaning, we require a surface wipe down of all stoves, fryers and canopies

- Work schedule to coincide with normal cafeteria down times in spring and winter

- Cleaning services to follow all National Air Duct Cleaners Association Standards and Guidelines

- Once bid is awarded, the vendor will submit a Certificate of Liability Insurance listing MWSU as an additional insured

- To schedule a time to look at the project contact:

Jerry Gentry

MWSU Physical Plant

816-244-3675

jgentry7@missouriwestern.edu

BID SPECIFICATION SHEET FOR FB17-083

DUCT AND HOOD CLEANING FOOD SERVICE

Now until June 30, 2017		Bid Amount $ _______________________________

July 1, 2017 – June 30, 2018	Bid Amount $ _______________________________

July 1, 2018 – June 30, 2019	Bid Amount $ _______________________________

July 1, 2019 – June 30, 2020	Bid Amount $ _______________________________

July 1, 2020 – June 30, 2021	Bid Amount $ _______________________________

*Please include any potential increases in pricing

Company _________________________________________________

Phone Number:________________________________________________

Authorized Signature 						   Date ______________

Return this pricing sheet with your bid.  Include any addendum(s) with your initials.

All questions should be directed to Purchasing Manager, Kelly Sloan, (816) 271-4465, purchase@missouriwestern.edu

Pricing must be FOB Missouri Western State University.

Missouri Western reserves the right to accept or reject any or all items of this bid.