BID SPECIFICATION SHEET FOR FB17-108

BACKFLOW PREVENTER TESTING FOR

Missouri Western State University

Missouri Western State University is seeking proposals from qualified firms to perform the annual testing of backflow devices on campus.  There are 80 devices to be tested ranging from ½” to10” in size.

Scope of Work:

Coordinate with University staff to perform the testing

-University will provide Contractor access to all devices being tested

Contractor shall provide test reports

Contractor shall communicate with University for any repairs/replacements needed

Terms:

Contract will be for the calendar year 2017

Qualifications:

Contractor must have current ABPA or ASSE tester certificate

RFP Inclusions:

- Contractor’s experience and qualifications

- Contractor’s current work load and how this would be coordinated with University backflow testing

- Contractor shall state charge for basic backflow device testing and an hourly charge for repairs

Questions can be directed to:

James Neidel

Mechanical Superviser

Missouri Western State University

neidel@missouriwestern.edu

Office:  816-271-4418      Cell:  816-262-4263

BID SPECIFICATION SHEET FOR FB17-108

BACKFLOW TESTING FOR MISSOURI WESTERN STATE UNIVERSITY

Basic Charge Amount $ _______________________________

Hourly Charge $ ______________________________________

Company _________________________________________________

Phone Number:________________________________________________

Authorized Signature 						   Date ______________

Return this pricing sheet with your bid.  Include any addendum(s) with your initials.

Pricing must be FOB Missouri Western State University.