

**BID SPECIFICATION SHEET FOR FB19-058**

**LABORATORY STERLIZER (AUTOCLAVE)**

Missouri Western State University is accepting bids on a Laboratory Sterilizer (Autoclave) with the following specifications or as close to these as possible:

* Approximately 20” x 20” x 38” Chamber
* Overall Size 39” W x 48” L x 75” H maximum
* Refurbished, used vessel is acceptable
* Includes new steam generator
* USB port for cycle data collection
* Built with non-proprietary parts
* Equipped with water conservation mechanism/system
* Touch screen control panel with minimum 20 user configurations
* Chamber rack and two shelves
* Must provide Trade-in value on current AMSCO Eagle 3021 unit
* Warranty minimums:
	+ 1 year parts/labor sterilizer
	+ 1 year parts/labor generator
	+ 2 year control parts
	+ 10 year pressure vessel (prorated is acceptable)
* Delivery and installation of new unit with removal of existing unit

TOTAL Cost of Laboratory Sterilizer (Autoclave) $\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Make and Model with manufacture part number\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Trade in cost for AMSCO Eagle 3021 unit \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Vendor Authorized Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Company: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Phone number: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Please return this pricing sheet as well as Vendor’s W-9 to Missouri Western State University Purchasing Department, 4525 Downs Drive, St. Joseph, MO 64507. Please be sure to mark the envelope with FB19-058. Pricing must be FOB Missouri Western State University.

Include literature on the recommended Laboratory Sterilizer (Autoclave) for our review.

All questions and/or clarifications should be sent at any time to the Manager, Kelly Sloan at purchase@missouriwestern.edu until 2:00 pm Central Time on October 15, 2018. Questions received after this date may not be answered. Please reference the FB# on all correspondence. Answers to the submitted questions will be e-mailed to each vendor as an addendum to this solicitation. It is the responsibility of all interested parties to read this information and return it as part of the FB confirming receipt.