

**FB NO: RFP17-071 DATE: December 22, 2016**

**BUYER: Kelly Sloan, Purchasing Manager PHONE: (816) 271-4465**

**ADDENDUM #1**

FUNDING DEPARTMENT: TELEPHONE DEPARTMENT

EQUIPMENT/SERVICES REQUESTED: REPLACE PHONE AND MESSAGING SYSTEM VoIP

**PLEASE NOTE: ITEMS REQUESTED FROM THE PRE-BID MEETING**

**1) Provide a network diagram of the campus with associated fiber capacities that are in use and that are available**.

Attached in two files, showing fiber conduit paths and the actual fiber cables with total and available capacity.

**2) Listing of numbers to be ported from the PLEXAR system to the new VoIP system including numbers that are held in "reserve".**

Attached Excel spreadsheet will contain:

1st tab (at the bottom) is a list of our phone lines by type, both active and what we have in our reserve pool (inactive).

2nd tab is how many Interstate Calls - Intrastate Calls - International Calls that have been made for the past 6 months. --- See Request #5

**3) Brand and model of the Wireless Access Points used throughout campus.**

ARUBA Networks model AP-125, using model 7220 controller

**4) Provide a CSR from AT&T regarding telephone numbers, features per number, etc.**

Attached along with feature report. Provides a count of the active features on PLEXAR stations.

**5) Summary of Long Distance minutes including Intra-state, Inter-state, in LATA, outside LATA, and International.**

Attached Excel spreadsheet will contain:

1st tab (at the bottom) is a list of our phone lines by type, both active and what we have in our reserve pool (inactive). --- See Request #2

2nd tab is how many Interstate Calls - Intrastate Calls - International Calls that have been made for the past 6 months.

**6) Fire Alarm panel locations (we don’t have pictures).**

Attached is the listing.

Here is the addendum attachments, their order and how they are connected to the points listed above:

pdf Fiber Capacity #1

pdf Fiber Conduit Paths #1

Excel Bid Information (first tab #2, second tab #5)

Word CSR #4

Excel SO1 #4

Pdf 20161220102540335 #6

THIS ADDENDUM IS HEREBY CONSIDERED TO BE A PART OF THE ORIGINAL BID SPECIFICATIONS AND NEEDS TO BE INITIALED AND RETURNED WITH YOUR BID IN ORDER TO BE CONSIDERED.