

**FB NO: FB21-007 DATE: JULY 14, 2020**

**BUYER: Kelly Sloan, Purchasing Manager PHONE: (816) 271-4465**

**ADDENDUM #2**

FUNDING DEPARTMENT: STUDENT UNION MAINTENANCE/MAINTENANCE & REPAIR

EQUIPMENT/SERVICES REQUESTED: REPLACEMENT CONDENSING UNIT POTTER HALL & CHILLER REPLACEMENT BLUM UNION

**PLEASE NOTE: SEE BELOW FOR CLARIFICATIONS AND ADDITIONAL INFORMATION: PLEASE SUBMIT THIS INITIALED ADDENDUM WITH YOUR BID RESPONSE.**

1. Potter Hall:
   1. All demo of existing pneumatic controls shall be the responsibility of the contractor.
   2. Installation of new controls will be the responsibility of MWSU.

THIS ADDENDUM IS HEREBY CONSIDERED TO BE A PART OF THE ORIGINAL BID SPECIFICATIONS AND NEEDS TO BE INITIALED AND RETURNED WITH YOUR BID.