BID SPECIFICATION SHEET FOR FB21-047

VARIOUS PARKING LOTS and ROADWAY ASPHALT REPAIRS

SCOPE

Missouri Western State University is requesting bids to remove and replace asphalt and concrete paving in designated marked areas on the main campus. Asphalt overlay shall be in accordance with the latest edition of the Missouri State Highway recommended standards. Contractor to verify site dimensions and conditions. Missouri Western State University may choose to do all or any combination of the listed projects.

TIMELINE OF PROJECT

- A Mandatory Pre-Bid Conference will be held in Popplewell Hall room 207 at 9 am March 30, 2021.

- Bid opening April 8, 2021 at 2 pm at which time all bids shall be submitted.

- Project to be completed on or before June 18, 2021. There shall be liquidated damages in the amount of $1,000 per day beyond that date.

Bid Specification for 2-inch Overlay (Base Bids 1-9 and 14)

- Provide all labor, materials and tools for the complete application.

- Work must be coordinated with MWSU to minimize interference with University functions.

- Remove and replace all parking blocks.

- Mill existing surface of all listed lots and service drives.

- Repair any failed areas.

- Prepare milled areas to Missouri State Highway recommended standards.

- Overlay with 2-inch asphalt concrete.

- Assure all transitions from asphalt lots to Downs Dr. and any other sidewalks or roadway is hazard free.

- 1/2 -inch expansion joint at all joints and transitions.

- Seal all joints.

- Striping and marking of all surfaces as presently marked.

- All demolished materials are to be removed from campus unless otherwise request by the University.

- Insure proper barricades and signage are used to insure both pedestrian and vehicle safety.

Bid Specification for 2-inch Overlay of Concrete Roadway (Base Bids 10-12)

- Provide all labor, materials and tools for the complete application.

- Work must be coordinated with MWSU to minimize interference with university functions.

- Mill existing surface of all listed concrete roadway

- Repair any failed areas.

- Prepare milled areas to Missouri State Highway recommended standards.

- Overlay with 2-inch asphalt concrete.

- Assure all transitions from asphalt to concrete roadway and any other sidewalks is hazard free.

- 1/2 -inch expansion joint at all joints and transitions.

- Seal all joints.

- Striping and marking of all surfaces as presently marked.

- All demolished materials are to be removed from campus unless otherwise request by the University.

- Insure proper barricades and signage are used to insure both pedestrian and vehicle safety.

Bid Specifications for Complete Asphalt Removal & Replacement (Base Bid 13)

- Provide all labor, materials and tools for the complete application.

- Work must be coordinated with MWSU to minimize interference with university functions.

- Remove and replace all parking blocks.

- Remove existing asphalt

- Install a minimum of 6-inch rock base

- Install 5-inch Asphalt Concrete in accordance with the latest edition of the Missouri State Highway recommended standards.

- Assure all transitions from asphalt lots to Downs Dr. and any other sidewalks or roadway is hazard free.

- 1/2 -inch expansion joint at all joints and transitions.

- Seal all joints.

- Striping and marking of all surfaces as presently marked.

- All demolished materials are to be removed from campus unless otherwise request by the University.

- Insure proper barricades and signage are used to insure both pedestrian and vehicle safety.

APPROXIMATE SIZES OF AREAS

Base Bid #1 Lot C and Overflow approximately 53,980 sq. ft.

Base Bid #2 Lot D approximately 32,900 sq. ft.

Base Bid #3 Lot E approximately 83,900 sq. ft.

Base Bid #4 Lot Of approximately 63,930 sq. ft.

Base Bid #5 Lot G (Portion) approximately 16,900 sq. ft.

Base Bid #6 Lot I approximately 104,790 sq. ft.

Base Bid 7 Lot J approximately 144,190 sq. ft.

Base Bid #8 Wilson Service Dr. approximately 10,600 sq. ft.

Base Bid #9 Looney Front Service Dr approximately 17,450 sq. ft.

Base Bid #10 SW University Dr. approximately 21,660 sq. ft

Base Bid #11 Downs Dr. / respectively to parking lot N approximately 6,000 sq. ft

Base Bid #12 Downs Dr. / respectively to parking lot E approximately 4,500 sq. ft

Base Bid #13 Beshears Service Dr. approximately 6,028 sq. ft

Base Bid #14 Lot A approximately 25,000 sq. ft

Alternate #1 Remove & Replace Designated Curb in Lot D & Wilson Service Drive

- Cut out marked sections of curb and match existing

- Seal all joints

- Striping and marking of all surfaces as presently marked

- Areas will be marked clear for view by pre-bid walk through

BID INFORMATION

Sealed bids must be submitted to the Purchasing Office by 2:00 p.m. Central Time on April 8, 2021 in Popplewell Hall, Room 221, 4525 Downs Drive, St. Joseph, MO 64507.  Electronic or faxed bids will not be accepted.

Include with your bid:

•	Current signed W-9

•	Pricing sheet page 5

•	Include any addendum(s) with your initials

•	Completed page 8

•	Completed MOU signature pages (the last three pages of E-Verify)

•	Bid Bond in the amount of 5% of the total amount of bid (A Performance Bond will be required of the awarded vendor)

All questions should be directed to Purchasing Manager, Kelly Sloan, (816) 271-4465, purchase@missouriwestern.edu

Missouri Western reserves the right to accept or reject any or all items of this bid.

Bid may be awarded as separate projects and not as a whole project.

This will be a prevailing wage project.

  - Bidders must submit a notarized Affidavit of Work Authorization and completed MOU signature pages, per attached memorandum dated January 2014, with their bids.

  - Annual Wage Order Number 27 is currently in effect.  A copy of this order will be attached separately once bid is awarded.

  - A Certificate of Liability Insurance will also be required with MWSU listed as an additional insured and a performance bond.

Missouri Revised Statute Chapter 292.675 went into effect on August 28, 2008, all on-site employees are required to complete the ten-hour safety training program.

PRICING SHEET FOR FB21-047

VARIOUS PARKING LOTS and ROADWAY ASPHALT REPAIRS

Base Bid #1 			Amount $ _______________________________

Base Bid #2   		Amount $ _______________________________

Base Bid #3 			Amount $ ________________________________

Base Bid #4			Amount $ ________________________________

Base Bid #5			Amount $ ________________________________

Base Bid #6			Amount $ ________________________________

Base Bid #7			Amount $ ________________________________

Base Bid #8			Amount $ ________________________________

Base Bid #9			Amount $ ________________________________

Base Bid #10		Amount $ ________________________________

Base Bid #11		Amount $ ________________________________

Base Bid #12		Amount $ ________________________________

Base Bid #13		Amount $ ________________________________

Base Bid #14		Amount $ ________________________________

Combination Bid

of all 14 Base Bids 		Amount $ ________________________________

Alternate #1		Amount $ ________________________________

Company _________________________________________________

Phone Number: ________________________________________________

Authorized Signature 						   Date ______________

Return these two pricing sheets with your bid.  Include any addendum(s) with your initials.

PREVAILING WAGE PROJECT INFORMATION

TO:			ALL BIDDERS

FROM:           	MISSOURI WESTERN STATE UNIVERSITY

DATE:  		January 2014

RE:			ADDITIONAL BID SUBMISSION REQUIREMENTS

Please review Missouri statute, 285.530 RSMo, regarding employment of unauthorized aliens. Pursuant to RSMo 285.530 (1), No business entity or employer shall knowingly employ, hire for employment, or continue to employ an unauthorized alien to perform work within the State of Missouri, and (2), the bidder must affirm its enrollment and participation in a federal work authorization program with respect to the employees proposed to work in connection with the services requested herein by:

Submitting a completed, notarized copy of AFFIDAVIT OF WORK AUTHORIZATION (attached) and,

Providing documentation affirming the bidder’s enrollment and participation in a federal work authorization program (see below) with respect to the employees proposed to work in connection with the services requested herein.

A copy of RSMo 285.530 can be viewed in its entirety at:

https://revisor.mo.gov/main/OneSection.aspx?section=285.530

E-Verify is an example of a federal work authorization program.  Acceptable enrollment and participation documentation consist of completed copy of the E-Verify Memorandum of Understanding (MOU).  A sample of the MOU is included.   For vendors that are not already enrolled and participating in a federal work authorization program, E-Verify is available at:

http://www.dhs.gov/files/programs/gc_1185221678150.shtm

The successful bidder will be required to submit a notarized Affidavit of Work Authorization and the completed MOU signature pages (the last three pages) with their bid.  A bid that does not include these items will be deemed Non-responsive.

# WORK AUTHORIZATION AFFIDAVIT

# PURSUANT TO R.S.Mo. §285.530

# (For all bids in excess of $5,000.00)

# Effective 1/1/09

State of Missouri		)

) ss

County of Buchanan		)

Comes now ________________________________ (Name of Business Entity Authorized Representative) as _____________________ (Position/Title) first being duly sworn on my oath, affirm __________________________ (Business Entity Name) is enrolled and will continue to participate in the E-Verify federal work authorization program with respect to employees hired after enrollment in the program who are proposed to work in connection with the services related to contract(s) with the State of Missouri for the duration of the contract(s), if awarded in accordance with subsection 2 of section 285.530, RSMo.  I also affirm that ____________________________ (Business Entity Name) does not and will not knowingly employ a person who is an unauthorized alien in connection with the contracted services provided under the contract(s) for the duration of the contract(s), if awarded.

In Affirmation thereof, the facts stated above are true and correct.  (The undersigned understands that false statements made in this filing are subject to the penalties provided under section 575.040, RSMo.)

| Authorized Representative’s Signature |  | Printed Name |
| --- | --- | --- |
| Title |  | Date |
| E-Mail Address |  | E-Verify Company ID Number |

Subscribed and sworn to before me this _____________ of ___________________.  I am

(DAY)		(MONTH, YEAR)

commissioned as a notary public within the County of _____________________, State of

(NAME OF COUNTY)

_______________________, and my commission expires on _________________.

(NAME OF STATE)						(DATE)

| Signature of Notary |  | Date |
| --- | --- | --- |