FORMAL BID FB21-060

FOR

VARIOUS STEP REMOVAL & REPLACEMENT

Submission Deadline:  JUNE 3, 2021

2:00 p.m. Central Time

Questions and/or requests for clarification of this FB should be submitted via email to the Purchasing Manager, Kelly Sloan at purchase@missouriwestern.edu. Please reference the FB21-060 on all correspondence.   Answers to the submitted questions will be e-mailed to each vendor as an addendum to this solicitation.  It is the responsibility of all interested parties to read this information and return it as part of the FB confirming receipt.

BID SPECIFICATION SHEET FOR FB21-060

VARIOUS STEP REMOVAL AND REPLACEMENT

SCOPE

- Furnish on labor, materials, tools, and equipment to remove existing sidewalks, steps, & handrails at (3) three entrances (North entrance to Blum Union Lot G, Main entrance to Fulkerson Center drive to Lot D, East entrance to campus 2nd floor Looney Complex).

- Prep for new concrete with up to 3” of base rock.

- Construct new steps and sidewalks to match existing

- Concrete shall be 4000# A.E.

- Saw joints every 10’

- Seal all concrete

- Reinforce all steps with #4 rebar 12” O.C.E.W

- Reinforce all sidewalks with 6X6-10/10 mesh

- Dowel new concrete into existing concrete 2’ O.C.

- All sidewalks will be a minimum 4” thick

- All demo materials shall be by contractor

- All areas will be cleaned daily

- Site shall be to grade to match existing

- All dirt areas shall be seeded with Kentucky Bluegrass/Tall Fescue mixture.

- Straw all seeded areas

TIMELINE

- Mandatory Pre-Bid May 27, 2021 at 10:00 am meet at North Entrance to Blum Union

- Bid opening June 3, 2021

- Project to be completed by June 30, 2021

BID SPECIFICATION

- Provide all labor, materials and tools for the complete application.

- Work must be coordinated with MWSU to minimize interference with university functions

- A one (1) year material and labor warranty shall be included.

MANDATORY PRE-BID MEETING

There will a mandatory pre-bid meeting at the North Entrance to Blum Union on May 27, 2021 at 10:00am.  Tours of the area and questions will be answered at this meeting.  Following COVID mandates, masks may be required and we will maintain a distance of 6 feet.

BID INFORMATION

Sealed bids must be submitted no later than June 3, 2021 2:00 p.m. Central Time to:

Missouri Western State University

Purchasing, Popplewell Hall 221

4525 Downs Drive

St. Joseph, MO  64507

Electronic or faxed bids will not be accepted. Missouri Western reserves the right to accept or reject any or all bids. Responses must be signed and sealed in mailing envelopes with the Respondent’s name and address clearly written on the outside.  The Formal Bid Number (FB21-060) shall also be clearly marked on the outside of the envelope or package.  Proposals may not be accepted if the FB number is not on the outside of the envelope.

MWSU reserves the right to award to the bidder whose bid complies with all mandatory specifications and requirements and is the lowest and best bid for supplies.

Bid will be evaluated and awarded as a whole; to one vendor.  Bid awarded as a whole project and not as separate projects.

All questions should be directed to Kelly Sloan, Purchasing Manager purchase@missouriwestern.edu.

Missouri Western reserves the right to accept or reject any or all items of this bid.

Include with your bid:

- Current signed W-9

- Pricing sheet page 4

- Include any addendum(s) with your initials

- Invitation to bid (separate document)

PRICING SHEET FOR FB21-060

VARIOUS STEP REMOVAL AND REPLACEMENT

Base Bid # 1 Blum Union Amount 		$ __________________________

Base Bid # 2 Fulkerson Center Amount 	$ __________________________

Base Bid # 3 Looney Complex Amount 	$ __________________________

Bid #4 Combined Price for all (3) optional	$___________________________

Company _________________________________________________

Phone Number:________________________________________________

Authorized Signature 						   Date ______________

Return this pricing sheet with your bid.  Include any addendum(s) with your initials.

Pricing must be FOB Missouri Western State University.

All questions should be directed to Purchasing Manager, Kelly Sloan, (816) 271-4465, purchase@missouriwestern.edu

Missouri Western reserves the right to accept or reject any or all items of this bid.