

FORMAL BID FB22-006

FOR

 DOOR REPLACEMENT BESHEARS & JUDA HALLS

Submission Deadline: JULY 15, 2021

2:00 p.m. Central Time

Questions and/or requests for clarification of this FB should be submitted via email to the Purchasing Manager, Kelly Sloan at purchase@missouriwestern.edu. Please reference the FB22-006 on all correspondence. Answers to the submitted questions will be e-mailed to each vendor as an addendum to this solicitation. It is the responsibility of all interested parties to read this information and return it as part of the FB confirming receipt.



**BID SPECIFICATION SHEET FOR FB22-006**

DOOR REPLACEMENT BESHEARS & JUDA HALLS

**SCOPE**

Remove old hollow metal doors and frames. Provide and install new doors and frames in Beshears and Juda Halls. DO WE KNOW THE QUANTITY?

Frames

* Remove and dispose of old metal doors, frames, thresholds, locks, etc.
* Repair any masonry damaged during demo.
* Provide and install new 16 gauge galvanized welded door frames with closer reinforcing. Frame may need to be undercut to fit existing masonry opening. Door to maintain 36” opening.
* Frames to be installed using dyna-bolts and wide enough to cover seam between brick and block. We will not be filling the new frames with mortar.

Doors

* Doors to be 16 Gauge flush/seamless galvanized hollow metal door with polyurethane core prepped for needed hardware.
* Doors to maintain 36” opening.

Hardware

* Provide and install 3- 4 ½” Heavy duty ball bearing hinges
* Provide and install Schlage Mortise lockset (function will be decided by owner. Provide cylinder and LFIC (keyed by MWSU) Details on exact lock will be discussed with owner.
* Provide and install LCN 4040 closers on each door.
* Provide and install ADA threshold.
* Provide and install sweeps and weather-strips.
* Provide and install a peep/viewer in each door.

Painting

* Prep - Remove all rust, dirt, moisture, grease, or other foreign materials from the surface and wipe with xylene to remove any contaminants
* Finish – 2 coats PPG HPC Rust Preventative Semi-Gloss Alkyd Enamel (Color

**TIMELINE**

* Mandatory Pre-Bid July 1, 2021 at 10:00 am meet at North Entrance to Blum Union
* Bid opening July 15, 2021

**BID SPECIFICATION**

* Provide all labor, materials and tools for the complete application.
* Work must be coordinated with MWSU to minimize interference with university functions
* A one (1) year material and labor warranty shall be included.

**MANDATORY PRE-BID MEETING**

There will a mandatory pre-bid meeting the parking lot east of Juda Hall on Thursday, July 1, 2021 at 10:00am. Tours of the area and questions will be answered at this meeting. Following COVID mandates, masks may be required and we will maintain a distance of 6 feet.

**BID INFORMATION**

Sealed bids must be submitted no later than July 15, 2021 2:00 p.m. Central Time to:

Missouri Western State University

Purchasing, Popplewell Hall 221

4525 Downs Drive

St. Joseph, MO 64507

**Electronic or faxed bids will not be accepted.** Missouri Western reserves the right to accept or reject any or all bids. Responses must be signed and sealed in mailing envelopes with the Respondent’s name and address clearly written on the outside. The Formal Bid Number **(FB22-006)** shall also be clearly marked on the outside of the envelope or package. Proposals may not be accepted if the FB number is not on the outside of the envelope.

MWSU reserves the right to award to the bidder whose bid complies with all mandatory specifications and requirements and is the lowest and best bid for supplies. Missouri Western reserves the right to accept or reject any or all items of this bid.

Bid will be evaluated and awarded as a whole; to one vendor. Bid awarded as a whole project and not as separate projects.

All questions should be directed to Kelly Sloan, Purchasing Manager purchase@missouriwestern.edu.



**PRICING SHEET FOR FB22-006**

DOOR REPLACEMENT BESHEARS & JUDA HALLS

Purchase and Installation of Doors $ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Company \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Phone Number:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Authorized Signature Date \_\_\_\_\_\_\_\_\_\_\_\_\_\_

Include with your bid:

* Current signed W-9
* Pricing sheet, this page
* Include any addendum(s) with your initials
* Invitation to bid (separate document)

Pricing must be FOB Missouri Western State University.

All questions should be directed to Purchasing Manager, Kelly Sloan, (816) 271-4465, purchase@missouriwestern.edu