

FORMAL BID FB22-011

FOR

glass door technology services

Submission Deadline: AUGUST 2, 2021

2:00 P.M. Central Time

Questions and/or requests for clarification of this FB should be submitted via email to the Purchasing Manager, Kelly Sloan at [purchase@missouriwestern.edu](mailto:purchase@missouriwestern.edu). Please reference the FB22-011 on all correspondence. Answers to the submitted questions will be e-mailed to each vendor as an addendum to this solicitation. It is the responsibility of all interested parties to read this information and return it as part of the FB confirming receipt.



**BID SPECIFICATION SHEET FOR FB22-011**

GLASS DOOR TECHNOLOGY SERVICES

**SCOPE**

Remove existing door located in Technology Services. Provide and install one pair stile doors.

* Furnish and install 1-pair of medium stile doors in existing hollow metal frame
* Hardware to include Von Duprin electrified panic with transfer hinge and concealed rods
* Pull handle with lockset on active door
* Re-use handicap closer
* Inactive door flush bolts only with LCN 4041 closer
* Heavy Duty Ball Bearing hinges on both doors
* Glazed with ¼” clear tempered

**SPECIFICATION NOTES**

* Must Field Verify all measurements. Contact Brian Harrah to set up a time. 816-271-4417 or [harrah@missouriwestern.edu](mailto:harrah@missouriwestern.edu)
* Clean up and haul away all debris.
* Project inspected by MWSU Physical Plant upon completion.

**PREBID MEETING**  
There will NO pre-bid meeting for this bid.

**BID INFORMATION**

**Sealed bids must be submitted to the Purchasing Office by 2:00 p.m. Central Time on August 2, 2021. Electronic or faxed bids will not be accepted.**

Missouri Western State University

Popplewell Hall, Room 221

4525 Downs Drive

St. Joseph, MO 64507

All questions should be directed to Purchasing Manager, Kelly Sloan, (816) 271-4465, [purchase@missouriwestern.edu](mailto:purchase@missouriwestern.edu)

Missouri Western reserves the right to accept or reject any or all items of this bid.

Include with your bid:

* Current signed W-9
* Pricing sheet on page 3
* Include any addendum(s) with your initials



**BID SPECIFICATION SHEET FOR FB22-011**

GLASS DOOR TECHNOLOGY SERVICES

Base bid to purchase and install glass door:

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Company Name:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Printed Name:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Authorized Vendor Signature:

Phone Number:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_