

**FB NO: FB22-058 DATE: MARCH 17, 2022**

**BUYER: Kelly Sloan, Purchasing Manager PHONE: (816) 271-4465**

**ADDENDUM #1**

FUNDING DEPARTMENT: ROOF/WINDOW REPLACEMENT FUND

EQUIPMENT/SERVICES REQUESTED: WILSON HALL WINDOW REPLACEMENT

**PLEASE NOTE: SEE BELOW FOR CLARIFICATIONS AND ADDITIONAL INFORMATION: PLEASE SUBMIT THIS INITIALED ADDENDUM WITH YOUR BID RESPONSE.**

ADDITIONS TO WILSON HALL WINDOW SPECIFICATIONS:

**Wilson Hall glass specifications**

* 1” thick stationary glass unit
* Double pane
* Insulated
* LowE
* Tempered
* Installed per manufacture’s specifications

**Wilson Hall metal panel specifications**

* 1” thick panel units
* Outside color choice of owner
* Installed per manufacturer’s specifications

THIS ADDENDUM IS HEREBY CONSIDERED TO BE A PART OF THE ORIGINAL BID SPECIFICATIONS AND NEEDS TO BE INITIALED AND RETURNED WITH YOUR BID IN ORDER TO BE CONSIDERED.