FB NO:  FB22-058					DATE:  		MARCH 17, 2022

BUYER:  Kelly Sloan, Purchasing Manager		PHONE:  	(816) 271-4465

ADDENDUM #1

FUNDING DEPARTMENT:	ROOF/WINDOW REPLACEMENT FUND

EQUIPMENT/SERVICES REQUESTED:    	WILSON HALL WINDOW REPLACEMENT

PLEASE NOTE:  SEE BELOW FOR CLARIFICATIONS AND ADDITIONAL INFORMATION:  PLEASE SUBMIT THIS INITIALED ADDENDUM WITH YOUR BID RESPONSE.

ADDITIONS TO WILSON HALL WINDOW SPECIFICATIONS:

Wilson Hall glass specifications

- 1” thick stationary glass unit

- Double pane

- Insulated

- LowE

- Tempered

- Installed per manufacture’s specifications

Wilson Hall metal panel specifications

- 1” thick panel units

- Outside color choice of owner

- Installed per manufacturer’s specifications

THIS ADDENDUM IS HEREBY CONSIDERED TO BE A PART OF THE ORIGINAL BID SPECIFICATIONS AND NEEDS TO BE INITIALED AND RETURNED WITH YOUR BID IN ORDER TO BE CONSIDERED.