FORMAL BID FB22-067

FOR

FULKERSON CENTER MAIN ENTRY HANDRAIL

Submission Deadline:  APRIL 25, 2022

2:00 P.M. Central Time

Questions and/or requests for clarification of this FB should be submitted via email to the Purchasing Manager, Kelly Sloan at purchase@missouriwestern.edu. Please reference the FB22-067 on all correspondence.   Answers to the submitted questions will be e-mailed to each vendor as an addendum to this solicitation.  It is the responsibility of all interested parties to read this information and return it as part of the FB confirming receipt.

BID SPECIFICATION SHEET FOR FB22-067

FULKERSON CENTER MAIN ENTRY HANDRAIL

SCOPE

Furnish all labor, materials, tools, and equipment to fabricate and install handrail to the Fulkerson Center main entrance. All vertical support rails to be core drilled into step and sealed using urethane caulking. Either steel pipe/tubing or aluminum pipe/tubing. Owner will determine. All work shall be to industrial standards and as instructed in the documents included (Section 055213 Pipe and Tube Railings, and Drawings)

Timeline of Project

- Bid opening April 25, 2022

- Project to be completed by May 27, 2022

- If you would like to schedule a site visit please contact Physical Plant Director, Bryan Adkins 816-271-4417

Bid Specification

- Provide all labor, materials and tools for the complete application.

- All vertical support rails to be core drilled into step and sealed using urethane caulking.

- Railings will be finished to allow finish paint to be applied.

- Finished painting if needed will be performed by owner (MWSU).  See 3.02 Preparation (B)

- Work must be coordinated with MWSU to minimize interference with university functions

- A one (1) year material and labor warranty shall be included.

- Area will remain clean and in safe condition at all times.

- Contractor will be responsible for all clean up.

- Any damage to the current step/sidewalk conditions will be repaired to current condition by contractor.

- Project inspected by MWSU Physical Plant upon completion.

PREBID MEETING
There will NO pre-bid meeting for this bid.

BID INFORMATION

Sealed bids must be submitted to the Purchasing Office by 2:00 p.m. Central Time on April 25, 2022.  Electronic or faxed bids will not be accepted.

Missouri Western State University

Popplewell Hall, Room 221

4525 Downs Drive

St. Joseph, MO 64507

All questions should be directed to Purchasing Manager, Kelly Sloan, (816) 271-4465, purchase@missouriwestern.edu

Missouri Western reserves the right to accept or reject any or all items of this bid.

Include with your bid:

- Current signed and dated W-9

- Pricing sheet on page 4

- Include any addendum(s) with your initials

- Invitation to bid (separate document)

PRICING SHEET FOR FB22-067

FULKERSON CENTER MAIN ENTRY HANDRAIL

Base Bid Amount (Steel Pipe/Tube) $ _______________________________

Base Bid Amount (Aluminum Pipe/Tube) $ __________________________

Company _________________________________________________________

Phone Number: ______________________________     Date ______________

Authorized Signature _____________

Printed Name ______________________