FB NO:  FB24-092					DATE:  		MARCH 27, 2024

BUYER:  Kelly Sloan, Purchasing Manager		PHONE:  	(816) 271-4465

ADDENDUM #1

FUNDING DEPARTMENT:			PHYSICAL PLANT

EQUIPMENT/SERVICES REQUESTED:    	CONCRETE REPAIR EASTSIDE LOONEY COMPLEX

PLEASE NOTE:  SEE BELOW FOR CLARIFICATIONS AND ADDITIONAL INFORMATION:  PLEASE SUBMIT YOUR BID RESPONSE ACCORDINGLY.

1. Please clarify the specifications noted at the pre-bid meeting.

- The contractor shall dowel into existing slabs and building wherever new concrete meets existing with 12" #4 rebar on 2' centers.

- The contractor shall replace existing steps directly east of the current voided area discussed in the pre-bid. Steps will be replaced with the specifications of the current steps.

- All areas surrounding concrete replacement shall be returned to top grade. Seeding by the owner.

THIS ADDENDUM IS HEREBY CONSIDERED TO BE A PART OF THE ORIGINAL BID SPECIFICATIONS AND NEEDS TO BE INITIALED AND RETURNED WITH YOUR BID.