FB NO:  FB24-093					DATE:  		MARCH 15, 2024

BUYER:  Kelly Sloan, Purchasing Manager		PHONE:  	(816) 271-4465

ADDENDUM #1

FUNDING DEPARTMENT:			CHIEFS RENOVATIONS

EQUIPMENT/SERVICES REQUESTED:    	MERCHANDISE BUILDING ELECTRICAL

PLEASE NOTE:  SEE BELOW FOR CLARIFICATIONS AND ADDITIONAL INFORMATION:  PLEASE SUBMIT YOUR BID RESPONSE ACCORDINGLY.

- This is a prevailing wage project and will require all pay submittals to be reported.

- The owner will allow one single conduit sized per code from the concession building to the first Quazite Underground Enclosure.

- The contractor will replace the Quazite Underground Enclosure located directly south of the future Merchandise Building as discussed.

- The contractor will pour a 3’ x 3’ concrete pad 4” thick for the new transformer feeding the merchandise building.

- Fire Alarm will be stand along with dial-out and monitoring capabilities.

- Attached: Building Drawings

THIS ADDENDUM IS HEREBY CONSIDERED TO BE A PART OF THE ORIGINAL BID SPECIFICATIONS AND NEEDS TO BE INITIALED AND RETURNED WITH YOUR BID.