FB NO:  FB24-093					DATE:  		MARCH 21, 2024

BUYER:  Kelly Sloan, Purchasing Manager		PHONE:  	(816) 271-4465

ADDENDUM #2

FUNDING DEPARTMENT:			CHIEFS RENOVATIONS

EQUIPMENT/SERVICES REQUESTED:    	MERCHANDISE BUILDING ELECTRICAL

PLEASE NOTE:  SEE BELOW FOR CLARIFICATIONS AND ADDITIONAL INFORMATION:  PLEASE SUBMIT YOUR BID RESPONSE ACCORDINGLY.

Please note change in the Scope of Work provided for equipment change supplied by the owner.

Section E. Electrical

2. Not included in plans

c.

The contractor shall supply service to a 150  KVA transfer (owner provided) servicing a 400-amp panel inside the merchandise building from the current concessions stand to the site boring so as not to damage asphalt and concrete.

New verbiage and equipment change:

The contractor shall supply service to a 75 KVA transformer (owner provided) servicing a 400-amp panel located immediately south of current practice fields as identified in the pre-bid.

This change is due to the panel in the concession stand's capacity to support the 150 KVA equipment.

THIS ADDENDUM IS HEREBY CONSIDERED TO BE A PART OF THE ORIGINAL BID SPECIFICATIONS AND NEEDS TO BE INITIALED AND RETURNED WITH YOUR BID.