FB NO:  FB24-103					DATE:  		APRIL 18, 2024

BUYER:  Kelly Sloan, Purchasing Manager		PHONE:  	(816) 271-4465

ADDENDUM #1

FUNDING DEPARTMENT:			CHIEFS RENOVATIONS

EQUIPMENT/SERVICES REQUESTED:    	TRAINING CAMP ELECTRICAL & VASELAKOS SECURITY LIGHTING

PLEASE NOTE:  SEE BELOW FOR CLARIFICATIONS AND ADDITIONAL INFORMATION:  PLEASE SUBMIT YOUR BID RESPONSE ACCORDINGLY.

- This is a prevailing wage project and will require all pay submittals to be reported.

- A bid bond in the amount of 5% of the total cost needs to be submitted with your formal bid.  A performance and payment bond will be required upon award of the bid.

- Specifications for all lighting fixtures will be provided by ECHO (Justin Berry).

- The contractor, with expertise in meeting code requirements, will be responsible for all lights, mounting brackets, poles, and hardware needed to perform the installation properly. ECHO has this cost.

- All solar lights scheduled for campsite installation have been changed to electrical power.

- All power provided to camp-site fixtures will be pulled from the discussed locations communicated at the pre-bid meeting and must be field verified by the contractor.

- See attached document for light pole base specifications.

- All the Chief's Campsite pole lights will have a dust/dawn photocell and a single pole switch. Install it in an all-weather box with a lockable cover.

THIS ADDENDUM IS HEREBY CONSIDERED TO BE A PART OF THE ORIGINAL BID SPECIFICATIONS AND NEEDS TO BE INITIALED AND RETURNED WITH YOUR BID.