FB NO:  FB24-107					DATE:  		APRIL 29, 2024

BUYER:  Kelly Sloan, Purchasing Manager		PHONE:  	(816) 271-4465

ADDENDUM #1

FUNDING DEPARTMENT:			ATHLETICS DEPARTMENT

EQUIPMENT/SERVICES REQUESTED:    	REPLACEMENT OF CARPET IN LOONEY COMPLEX VOLLEYBALL LOCKER ROOM

PLEASE NOTE:  SEE BELOW FOR CLARIFICATIONS AND ADDITIONAL INFORMATION:  PLEASE SUBMIT YOUR BID RESPONSE ACCORDINGLY.

Carpet will be from the Outfitter book and not the Intrinsic book.

2396 Tweed has been selected.

Carpet will be installed in Ashlar pattern and not in quarter turn pattern.

THIS ADDENDUM IS HEREBY CONSIDERED TO BE A PART OF THE ORIGINAL BID SPECIFICATIONS AND NEEDS TO BE INITIALED AND RETURNED WITH YOUR BID.